# Backflow Prevention Assembly Test & Maintenance Report

Water

Purveyor

Public Water Supplier #

__	__

Phone:

Non-Residential

Assembly Type: RP

RPDA

DC

DCDA

PVB

SVB

AG

Business Name or Property Owner: 	Contact Person:  	 Service Address:

Residential

Manufacturer 			Model 		Serial 	Size 	_ Existing	Replacement	New		Location of Backflow Assembly:

Hazard: Domestic Hazard ID #

Irrigation

Fire

Site ID #

Fire Detector

Other

Meter #

| PSI | Reduced Pressure Principle Assembly |  |  |  |  | PVB/SVB |
| --- | --- | --- | --- | --- | --- | --- |
|  | Double Check Valve Assembly |  |  |  | RELIEF VALVE |  |
|  | CHECK VALVE #1 |  | CHECK VALVE #2 |  |  |  |
| INITIAL TEST | Leaked Closed Tight PSID |  | Leaked Closed Tight PSID |  | Opened at PSID Did Not Open | Air Inlet Opened at PSID Did Not Open Check Valve PSID Leaked |
|  | Cleaned / Repaired? |  | Cleaned / Repaired? |  | Cleaned / Repaired? | Cleaned / Repaired? |
| FINAL TEST | PSID Closed Tight |  | PSID Closed Tight |  | Opened at PSID Did Not Open | Opened at PSID Did Not Open Check Valve PSID Leaked |

Air Inlet

Opened at	PSID

Did Not Open

Check Valve	PSID

Air Gap Required Separation:  Yes	No

Installed in accordance with manufacturer recommendations and/or local codes? Yes	No

Remarks:

TESTER CERTIFICATIONS

The backflow prevention assembly detailed on this form has been tested and maintained as required by codes and regulations, is certified to be true & accurate, and is operating within acceptable parameters at time of testing.	* Only Manufacturer’s replacement parts have been used.	** Test records must to be kept for a minimum of three years.

Company Name 	Company Phone #

Company Address 	Contact Phone # or Extension

Company Address 	Company License #

Tester Name 	Tester Signature

Tester License or Certification # 	Tester License Expiration

Test Kit Mfr	Mod # 	Ser #

Backflow Preventer Test Date 	Test Kit Date Last Tested for Accuracy

PASS	FAIL