Facility Name:

Coverage Number:

Monitoring Period 	From:	     		To:

Inspector:	     		Date:	     		Time:

The discharge outlets from the following areas must be inspected:

|  | Disturbed Areas | Material Storage Areas | Structural Control Measures | Vehicle Maintenance Areas |
| --- | --- | --- | --- | --- |
| Outfall name or location identifier: |  |  |  |  |
| Was the item inspected? | Yes No | Yes No | Yes No | Yes No |
| Was there evidence of pollutants entering a drainage system? | Yes No | Yes No | Yes No | Yes No |
| Was there a potential for pollutants to enter a drainage system? | Yes No | Yes No | Yes No | Yes No |

Observations:

- Do surrounding roadways require cleaning due to sediment tracking	 Y	 N 	 N/A

from the facility?

- Is there any litter, debris, chemicals, or parts not being managed properly	 Y	 N

to minimize stormwater pollution?

- Are there any leaking tanks, hoses or equipment?	 Y	 N

- Have all stormwater management devices (oil/water separators, catch	 Y	 N	 N/A

basins, silt fences, etc.) been inspected?

- Are the stormwater management devices functioning properly?	 Y	 N

Corrective Actions and Schedule:

- Are best management practices effective?	 Y	 N

- Do best management practices need to be adjusted?	 Y	 N

- Are additional best management practices needed?	 Y	 N

Comments:

- Do best management practices in field match the best management	 Y	 N

practices in the SWPP Plan and Site Map?

- Has employee training (education or meetings) been performed since	 Y	 N

the last inspection?

- Are there any deficiencies that may result in non-compliance with NDR32-0000?

List all spills, leaks or hose-breaks that have occurred since the last inspection:

-Size	-Location	-Was it reportable?	-Was it reported?

Y	 N	 Y	 N

Y	 N	 Y	 N

Y	 N	 Y	 N

- Were Spill Prevention Procedures adequate?	 Y	 N

- What Spill Response Procedures were used?	 Y	 N

Comments

- Has the SWPP Plan been updated as a result of this inspection?	 Y	 N

- Has the Site Map been updated as a result of this inspection?	 Y	 N